DAC GUIDANCE NOTE

Heating Proforma 1

This Guidance note has been compiled by the DAC heating adviser to give you a standard way of conveying the required information relating to the church existing heating system. This has been produced to allow the DAC to assess any future proposal.

Parish:

Church:

Application Reference number (if applicable):

Project description:

Please circle all relevant answers.

- Is the system all electric?						Yes	No

If yes provide separate information for electrical consultant.

- Is the system water type?                               			Yes	No

If yes complete the following questions

- Is the system energy provided by

Oil fired boiler					Yes	No

Natural gas boiler					Yes	No

LPG boiler						Yes	No

Electric boiler					Yes	No

Biomass						Yes	No

Heat pump						Yes	No

Air							Yes	No

Ground source					Yes	No

Other							Yes	No

Please state type:

- Manufacturer of heat source and model:

Temperature heat source operates when 0ºC externally

e.g. flow             ºC

return          ºC

- Rated output of heat source  _______________ Kw

- Type of heat emitter

Radiators cast iron					Yes	No

Radiators steel					Yes	No

Radiators aluminum					Yes	No

Pipe loops						Yes	No

Underfloor heating steel				Yes	No

Underfloor heating plastic				Yes	No

Natural convectors					Yes	No

Fan convectors					Yes	No

Radiant panels					Yes	No

Finned tubes						Yes	No

- Estimate output of all heat emitters independently

e.g. radiators, pipework, underfloor heating etc

Based on the capability of the provided heat source.

_______________Kw

- System type

Sealed 						Yes	No

Operating pressure when hot ____________bar

Manual fill						Yes	No

Auto filler						Yes	No

Auto filler type ______________________

Open vented						Yes	No

Static head at heat source_______________meters head

- Circulation

Gravity						Yes	No

Pumped 						Yes	No

How many pumps? ___________

- System protection

Filter 							Yes	No

Plate heat exchanger				Yes	No

- Dosed 						Yes	No

If yes, when last dosed? ______________

Dosing type? _______________________

- Pipes serving system

Cast iron						Yes	No

Steel 							Yes	No

Copper						Yes	No

Plastic						Yes	No

- Does the church have an incoming

mains cold water supply? 				Yes	No

If yes, what is the incoming static pressure? _______bar

- Briefly describe the existing control scheme.

Time clock 						Yes	No

Single occupancy room thermostat 		Yes	No

Non-occupancy room thermostat

[fabric protection]					Yes	No

Optimization 					Yes	No

Zoning 						Yes	No

Thermostatic radiator valves			Yes	No

- Does the existing system adequately heat the church

if the system is permitted to run long enough?			Yes	No

- If any boiler service documentation is available indicating

operating efficiency, this would be useful to be attached to any application.

- A single line schematic drawing indicating the existing system

would be most helpful when assessing any new proposal.

- Please provide any further information you may consider useful when

assessing the proposal.

- Safety devices fitted

System pressure relief						Yes    No

If yes where fitted? __________________________________

Fire protection							Yes    No

If yes, where is fire protection fitted? ___________________________________

Describe type of fire protection _______________________________________

If the existing heating system has failed, please answer the following questions.

- What is the mechanism of failure (why has it failed)

- Who has advised that the system has failed? (please provide relevant invoice/report)

- If the system cannot be repaired what is the reasoning behind this?

Document submitted by __________________________

Dated ___________________________